## Base
LCOE Calculations for an onshore wind project in Poland
installation costs: |  | 1500000 | €/MW |  |  | changes: | cost |  | LCOE up
initial O&M costs: |  | 45000 | €/MW |  |  |  | O&M |  | LCOE up
turbine capacity: |  | 3 | MW |  |  |  | turbine capacity |  | no change
capacity factor: |  | 0.4 | fraction of unity |  | ? |  | capacity factor |  | LCOE down
discount rate: |  | 0.05 | fraction of unity |  | ? |  | discount rate |  | LCOE up
escalation rate for O&M |  | 0.02 | fraction of unity |  | ? |  | escalation rate |  | LCOE up
[7 empty] | lifetime |  | LCOE down
Full Load Hours: |  | 3504 | hours
Generation per year: |  | 10512 | MWh | 1 year = | 365 | days = | 8760 | hours per year
Year | fixed cost | O&M | O&M disc. | Gener. disc.
| € | € | € | MWh
1 | 4500000 | 135000 | 135000 | 10512
2 |  | 137700 | 131142.8571 | 10011.4286
3 |  | 140454 | 127395.9184 | 9534.6939
4 |  | 143263.08 | 123756.035 | 9080.6608
5 |  | 146128.3416 | 120220.1483 | 8648.2484
6 |  | 149050.9084 | 116785.2869 | 8236.4271
7 |  | 152031.9266 | 113448.5644 | 7844.2162
8 |  | 155072.5651 | 110207.1769 | 7470.6821
9 |  | 158174.0164 | 107058.4004 | 7114.9354
10 |  | 161337.4968 | 103999.5889 | 6776.1289
SUM | 4500000 | 1478212.335 | 1189013.9762 | 85229.4215 |  | look at contributions CAPEX vs OPEX
LCOE | 66.7494 | €/MWh

## Cost
cost | % change | LCOE
1000000 | 66.6667 | 49.15
1100000 | 73.3333 | 52.67
1200000 | 80 | 56.19
1300000 | 86.6667 | 59.71
1400000 | 93.3333 | 63.23
1500000 | 100 | 66.75
1600000 | 106.6667 | 70.27
1700000 | 113.3333 | 73.79
1800000 | 120 | 77.31
1900000 | 126.6667 | 80.83
2000000 | 133.3333 | 84.35

## O&M
O&M | % change | LCOE
30000 | 66.6667 | 62.1
35000 | 77.7778 | 63.65
40000 | 88.8889 | 65.2
45000 | 100 | 66.75
50000 | 111.1111 | 68.3
55000 | 122.2222 | 69.85
60000 | 133.3333 | 71.4

## Cap Fact
capacity fact | % change | LCOE
0.1 | 25 | 267
0.2 | 50 | 133.5
0.3 | 75 | 89
0.4 | 100 | 66.75
0.5 | 125 | 53.4
0.6 | 150 | 44.5
0.7 | 175 | 38.14

## Discount
Discount R | % change | LCOE
0.02 | 40 | 60.74
0.03 | 60 | 62.72
0.04 | 80 | 64.72
0.05 | 100 | 66.75
0.06 | 120 | 68.8
0.07 | 140 | 70.87
0.08 | 160 | 72.96
0.09 | 180 | 75.06

## Escal R
O&M Escal R | % change | LCOE
0 | 0 | 65.64
0.01 | 50 | 66.18
0.02 | 100 | 66.75
0.03 | 150 | 67.35
0.04 | 200 | 67.98

## Lifetime
Lifetime | % change | LCOE
(year)
8 | 80 | 76.79
9 | 90 | 71.19
10 | 100 | 66.75
11 | 110 | 63.15
12 | 120 | 60.19
13 | 130 | 57.71
14 | 140 | 55.61
15 | 150 | 53.82

## CFs
Cash Flows
installation costs: |  | 1500000 | €/MW |  | power price year 1: |  | 66.75 | €/MWh
initial O&M costs: |  | 45000 | €/MW |  | power price escalation: |  | 0 | fraction of unity | CDCF year 10 is nil with no power price escalation
turbine capacity: |  | 3 | MW
capacity factor: |  | 0.4 | fraction of unity
discount rate: |  | 0.05 | fraction of unity |  |  | DCF (NVP) ? | IRR | 5.266%
escalation rate for O&M |  | 0.02 | fraction of unity
Year | Capital | O&M | MWh | Power price | revenue | CF of year | discountedCF | CDCF
0 | [6 empty] | 0 | 0
1 | -4500000 | -135000 | 10512 | 66.75 | 701676 | -3933324 | -3933324 | -3933324
2 |  | -137700 | 10512 | 66.75 | 701676 | 563976 | 537120 | -3396204
3 |  | -140454 | 10512 | 66.75 | 701676 | 561222 | 509044.898 | -2887159.102
4 |  | -143263.08 | 10512 | 66.75 | 701676 | 558412.92 | 482378.0758 | -2404781.0262
5 |  | -146128.3416 | 10512 | 66.75 | 701676 | 555547.6584 | 457050.4334 | -1947730.5928
6 |  | -149050.9084 | 10512 | 66.75 | 701676 | 552625.0916 | 432996.2195 | -1514734.3733
7 |  | -152031.9266 | 10512 | 66.75 | 701676 | 549644.0734 | 410152.8702 | -1104581.5031
8 |  | -155072.5651 | 10512 | 66.75 | 701676 | 546603.4349 | 388460.8561 | -716120.6469
9 |  | -158174.0164 | 10512 | 66.75 | 701676 | 543501.9836 | 367863.5358 | -348257.1111
10 |  | -161337.4968 | 10512 | 66.75 | 701676 | 540338.5032 | 348307.017 | 49.9058
11 |  | -164564.2467 | 10512 | 66.75 | 701676 | 537111.7533 | 329740.024 | 329789.9298
12 |  | -167855.5316 | 10512 | 66.75 | 701676 | 533820.4684 | 312113.7719 | 641903.7018
13 |  | -171212.6423 | 10512 | 66.75 | 701676 | 530463.3577 | 295381.8466 | 937285.5483
14 |  | -174636.8951 | 10512 | 66.75 | 701676 | 527039.1049 | 279500.0899 | 1216785.6383
15 |  | -178129.633 | 10512 | 66.75 | 701676 | 523546.367 | 264426.4919 | 1481212.1302

## IRR
Cash Flows
Assumptions for the power purchase agreement
installation costs: |  | 1500000 | €/MW |  | power price year 1: |  | 75 | €/MWh
initial O&M costs: |  | 45000 | €/MW |  | power price escalation: |  | 0.02 | fraction of unity
turbine capacity: |  | 3 | MW
capacity factor: |  | 0.4 | fraction of unity
discount rate: |  | 0.1164 | fraction of unity |  | IRR 11,64% with these assumptions over 10 years |  |  |  | 5% with power price of 66,75 and no power price escalation => base case
escalation rate for O&M |  | 0.02 | fraction of unity |  |  | IRR
Year | Capital | O&M | MWh | Power price | revenue | CF of year | discountedCF | CDCF
0 | [6 empty] | 0 | 0
1 | -4500000 | -135000 | 10512 | 75 | 788400 | -3846600 | -3846600 | -3846600
2 |  | -137700 | 10512 | 76.5 | 804168 | 666468 | 596979.5772 | -3249620.4228
3 |  | -140454 | 10512 | 78.03 | 820251.36 | 679797.36 | 545431.0003 | -2704189.4225
4 |  | -143263.08 | 10512 | 79.5906 | 836656.3872 | 693393.3072 | 498333.5904 | -2205855.8321
5 |  | -146128.3416 | 10512 | 81.1824 | 853389.5149 | 707261.1733 | 455302.9937 | -1750552.8383
6 |  | -149050.9084 | 10512 | 82.8061 | 870457.3052 | 721406.3968 | 415988.0452 | -1334564.7932
7 |  | -152031.9266 | 10512 | 84.4622 | 887866.4513 | 735834.5247 | 380067.9022 | -954496.8909
8 |  | -155072.5651 | 10512 | 86.1514 | 905623.7804 | 750551.2152 | 347249.427 | -607247.4639 |  | IRR | 11.64%
9 |  | -158174.0164 | 10512 | 87.8745 | 923736.256 | 765562.2395 | 317264.7936 | -289982.6704
10 |  | -161337.4968 | 10512 | 89.6319 | 942210.9811 | 780873.4843 | 289869.3026 | -113.3678
11 |  | -164564.2467 | 10512 | 91.4246 | 961055.2007 | 796490.954 | 264839.3843 | 264726.0165
12 |  | -167855.5316 | 10512 | 93.2531 | 980276.3047 | 812420.7731 | 241970.7739 | 506696.7905
13 |  | -171212.6423 | 10512 | 95.1181 | 999881.8308 | 828669.1886 | 221076.8447 | 727773.6351
14 |  | -174636.8951 | 10512 | 97.0205 | 1019879.4674 | 845242.5723 | 201987.0849 | 929760.72
15 |  | -178129.633 | 10512 | 98.9609 | 1040277.0568 | 862147.4238 | 184545.7064 | 1114306.4264
Use this column for IRR function before discounted